# Neural Networks for ECG-Based Disease Detection

Recommended approach for your wearable ECG project.

## 1. Why Neural Networks?

Neural networks automatically learn ECG waveform features such as P waves, QRS complexes, T waves, RR intervals, and rhythm patterns without manual feature engineering.

## 2. Recommended Models

| Model | Accuracy | ESP32 Friendly | Recommendation |
| --- | --- | --- | --- |
| 1D CNN | High | Yes | Best choice |
| CNN + LSTM | Very High | Limited | Good for cloud/server |
| ResNet-1D | Very High | Possible after optimization | Research |
| Transformer | Excellent | No | Large systems only |

## 3. Recommended Dataset

Dataset: PTB-XL
Use only Lead II to match your 3-electrode wearable.
Target classes: Normal, Bradycardia, Tachycardia, Arrhythmia.

## 4. Pipeline

Lead II ECG -> Filtering -> Normalization -> 1D CNN -> Classification (Normal / Bradycardia / Tachycardia / Arrhythmia)